TAYLORMADE FACADES LTD

Draft NBS-Style Specification — EPS Architectural Façade Mouldings and Profiles

⚠ Document status: DRAFT — for technical review. Not yet issued as a final project specification.

Manufacturer: Taylormade Facades Ltd, Gasworks Road, Aberaman, Aberdare, CF44 6RS. Tel: 01685 875410. Email: info@taylormadefacades.com.

M21 External Rendered / Coated Façade Elements

210  Taylormade Facades EPS Architectural Mouldings

1. GENERAL

Manufacturer

Taylormade Facades Ltd.

Product

Project-specific EPS architectural façade profiles, mouldings and decorative façade elements.

System Description

Precision CNC-cut and profiled expanded polystyrene architectural mouldings manufactured by Taylormade Facades Ltd and factory coated using an approved VPI polymer-modified coating system. Profiles are manufactured to project-specific architectural drawings and details and are not restricted to fixed catalogue sizes.

Typical Applications

- Cornices.

- String courses and bands.

- Window cills.

- Window heads.

- Keystones.

- Quoin stones.

- Parapet cappings.

- Garden wall copings.

- Feature surrounds.

- Bespoke architectural mouldings.

- Other project-specific façade profiles.

2. CLASSIFICATION

Indicative Uniclass System Classification

Ss_25_45_72_28 External wall insulation systems.

Indicative CAWS Reference

M21/210 Rendered external wall insulation systems.

Final NBS classification to be coordinated with the project specification and application. VPI currently lists RHÉATHERM 600 for EPS applications under Uniclass Ss_25_45_72_28 and CAWS M21/210.

3. EPS CORE

Manufacturer

Sundolitt Ltd.

Product

Sundolitt SE200 expanded polystyrene, or Taylormade Facades approved equivalent meeting the project-specific performance requirements.

Nominal Density

29–31 kg/m³.

Reaction to Fire of Uncoated EPS Core

Class E to BS EN 13501-1 (BS EN ISO 13163), as stated in the current Sundolitt Declaration of Performance No. UK-C-0022-CPR applicable to the supplied material.

Profile Formation

CNC cut/profiled to approved Taylormade Facades manufacturing drawings.

Edges and Geometry

Clean, consistent and free from significant distortion or damage before coating.

4. FACTORY-APPLIED COATING SYSTEM

Coating/Render System Manufacturer

VPI Products UK Ltd.

System

VPI RHÉATHERM 600-compatible EPS coating/render system. RHÉATHERM 600 is VPI's EPS-based external wall insulation/render system, assessed under UK Technical Assessment UKTA-0836-22/6381 (British Board of Agrément).

Base Coat / Adhesive

VPI RheaMix Mono, or other VPI material specifically approved in writing by VPI Products UK Ltd and Taylormade Facades Ltd for the proposed application. RheaMix Mono is described by VPI as a highly flexible polymer-modified base coat and adhesive for external wall insulation and direct-render systems.

Reinforcement

VPI-approved reinforcement mesh incorporated where required by the approved system specification, profile geometry, joint design or project-specific technical detail.

Factory Coating

Apply evenly to all exposed profile surfaces specified to receive the coating. Profile ends to be factory coated unless specifically detailed otherwise.

Alternative Coating Systems

Do not substitute alternative manufacturers' base coats, adhesives, reinforcement or finish products without prior written approval from Taylormade Facades Ltd and the relevant system manufacturer.

5. DECORATIVE FINISH

Manufacturer

VPI Products UK Ltd.

Finish

As scheduled and approved for the project. Possible VPI finishes may include:

- RHEAJET.

- RÉNOPASS CHAUX.

- LITHOCOLOR.

- FLEXODERM.

- CRÉALANE.

Final Finish Selection to Suit

- Required appearance.

- Texture.

- Colour.

- Exposure.

- Substrate/build-up.

- Project fire-performance requirements.

- VPI system requirements.

Colour

Project-specific colour selected from VPI range or approved colour reference.

Do not assume that the reaction-to-fire classification of an individual finish applies independently to the complete Taylormade profile assembly.

6. REACTION TO FIRE

Reaction-to-fire performance shall be stated only for the complete tested or technically assessed build-up applicable to the project. The classification shall take account of, as applicable:

- EPS type.

- EPS density.

- EPS thickness.

- Base coat.

- Reinforcement.

- Primer.

- Decorative finish.

- Application thickness.

- Substrate.

- Fixing method.

- Relevant test or technical assessment.

Current Supporting Evidence

UK Technical Assessment UKTA-0836-22/6381 (British Board of Agrément) for the VPI RHÉATHERM 600 system, classifying the complete assembled system to BS EN 13501-1 as B-s1,d0 or B-s2,d0 depending on the finish coat used. Confirm applicability of this evidence to the specific project build-up before manufacture — do not infer the fire classification of the complete Taylormade assembly solely from the declared classification of an individual VPI coating or finish.

Final suitability remains subject to the project fire strategy, Building Regulations, building use, height, location and wall construction.

7. DESIGN

Profiles shall be designed and manufactured from:

- Architect's drawings.

- General arrangement drawings.

- Elevations.

- Sections.

- Window and door schedules.

- Masonry setting-out information.

- Approved Taylormade Facades shop drawings.

Where dimensions shown on architectural drawings conflict with site dimensions, notify the contractor before manufacture. Taylormade Facades shall not manufacture from scaled dimensions where figured dimensions or verified site dimensions are required.

8. TECHNICAL SUBMITTALS

Prior to manufacture, provide project-specific information as applicable including:

- Profile drawings.

- Cross sections.

- Overall dimensions.

- Projections.

- Returns.

- Drip details.

- Joint locations.

- Interface details.

- Fixing requirements.

- Substrate requirements.

- Relevant coating information.

- Finish specification.

- Product technical data where required.

Obtain approval of project-specific drawings before manufacture. Approval of drawings shall relate to dimensions, appearance and interfaces shown and shall not transfer responsibility for the adequacy of the supporting structure or substrate to Taylormade Facades Ltd.

9. MANUFACTURING TOLERANCE

Unless stated otherwise on the approved project drawings, manufacturing dimensional tolerance: ±2mm.

Tolerance relates to the manufactured profile and does not include:

- Substrate irregularity.

- Setting-out tolerance.

- Masonry tolerance.

- Window installation tolerance.

- Render thickness variation.

- Installation workmanship.

10. STANDARD LENGTHS

Unless otherwise shown on the approved project drawings, typical standard lengths: 800mm and 1200mm. Specialist and project-specific lengths may be manufactured where agreed by Taylormade Facades Ltd.

Length selection shall take account of:

- Handling.

- Profile geometry.

- Weight.

- Substrate.

- Joint arrangement.

- Installation sequence.

- Transport limitations.

11. SUBSTRATES

Profiles may be installed to suitable:

- Masonry.

- Blockwork.

- Rendered masonry.

- Concrete.

- Approved cementitious/render carrier board (e.g. cement particle board).

- Other approved stable façade substrates.

The supporting background shall be:

- Structurally sound.

- Stable.

- Dry enough for the proposed system.

- Clean.

- Free from dust.

- Free from oils.

- Free from release agents.

- Free from loose material.

- Free from contamination likely to impair adhesion.

Substrate suitability remains the responsibility of the contractor responsible for the supporting construction unless Taylormade Facades has specifically accepted responsibility for that element in writing. Do not install profiles over a defective, unstable, cracked or inadequately prepared substrate.

12. SUBSTRATE PREPARATION

Before installation:

- Check line, level and plane of substrate.

- Confirm profile setting-out.

- Remove loose or friable material.

- Remove contamination that may impair adhesion.

- Confirm compatibility of existing coatings where present.

- Rectify significant background irregularities before profile installation.

- Confirm movement-joint positions.

Do not use the Taylormade profile or adhesive layer to correct excessive background tolerances.

13. FIXING

Unless otherwise detailed, install Taylormade Facades profiles using the approved VPI bonding material compatible with the specified system. Profiles shall be fully bed bonded to the prepared supporting substrate unless an alternative fixing arrangement is shown on the approved Taylormade technical detail. Avoid isolated adhesive dabs or unsupported voids behind profiles unless specifically approved.

Install profiles:

- True to line.

- True to level.

- Plumb where applicable.

- To the approved projection.

- With consistent joint spacing.

- Without rocking or unsupported sections.

Additional mechanical restraint shall be provided where specified by Taylormade Facades, VPI, the project designer or structural engineer.

14. PROFILE JOINTS

Install adjoining profiles accurately to the approved joint arrangement. Profile-to-profile joints shall be:

- Clean.

- Accurately aligned.

- Properly bonded.

- Treated using the approved Taylormade/VPI jointing method.

- Finished to minimise visible discontinuity after completion.

Do not fill or bridge joints using unapproved rigid fillers, mastics, sealants or coatings. Joint treatment shall remain compatible with the VPI coating/finish system. Site-applied coating shall not be relied upon to accommodate structural or substrate movement.

15. MOVEMENT JOINTS

Existing structural, substrate or designed movement joints shall not be rigidly bridged by Taylormade EPS profiles unless a specific engineered detail has been approved. Carry movement joints through the façade profile/coating system where required by the project design.

Coordinate profile joints with:

- Structural movement joints.

- Masonry movement joints.

- Render system movement joints.

- Changes in substrate.

- Significant changes in building geometry.

Movement-joint design remains subject to the requirements of the project architect, structural engineer and relevant façade/render system designer.

16. FALSE / DECORATIVE JOINTS

Where decorative or false joints are required within Taylormade profiles:

- Form to the dimensions shown on approved drawings.

- Ensure joints are decorative only and are not represented as structural movement joints.

- Treat with a VPI/Taylormade-approved material compatible with the surrounding finish.

- Do not use decorative joints as a substitute for required structural or substrate movement joints.

17. WINDOW CILLS

Description

Stooled, non-stooled or surface-mounted architectural EPS window cill manufactured to project-specific dimensions.

Provide Approved

- Projection.

- Fall.

- Drip detail.

- End/stool arrangement.

- Window interface.

Install fully bed bonded to the approved substrate. Sealant between the cill and window/frame system to be provided by the responsible trade unless specifically included in Taylormade Facades’ scope. Do not obstruct designed window-frame drainage paths.

18. WINDOW HEADS

Description

Project-specific architectural window-head profile manufactured to approved dimensions.

Profiles May Incorporate or Coordinate With

- Keystones.

- Decorative bands.

- Surrounds.

- Returns.

- Drip details.

Install fully bed bonded to the approved substrate using the specified VPI-compatible fixing system. Coordinate with lintels, masonry, windows and render interfaces.

19. KEYSTONES

Description

Decorative feature keystone manufactured to the approved profile and dimensions.

Locate centrally over the relevant opening unless drawings indicate otherwise. Install using the same approved VPI/Taylormade system applicable to the adjoining façade profiles. Do not use Parex, Sika or other alternative bonding products unless specifically approved in writing as a project variation.

20. CORNICES

Description

Project-specific cornice profile for eaves, floor lines or decorative horizontal façade features.

Provide Approved

- Projection.

- Depth.

- Drips.

- Falls where required.

- Returns/end conditions.

- Junction details.

Install fully bed bonded and provide additional restraint where required by profile size, projection, exposure or approved design.

21. STRING COURSES AND BANDS

Description

Horizontal decorative profile for intermediate floor levels, façade banding, window zones or other architectural features.

Set out continuously and accurately to approved datum. Coordinate joints with the architectural layout and movement-joint strategy.

22. PARAPET CAPPINGS

Description

Project-specific EPS parapet capping/profile incorporating weather-shedding features as detailed.

Provide Adequate

- Fall.

- Projection.

- Drip.

- Joint treatment.

- End conditions.

- Abutment details.

Parapet profiles shall not be relied upon as the sole waterproofing element unless expressly designed and certified for that purpose. Primary waterproofing of the wall/parapet construction shall be provided in accordance with the project design.

23. GARDEN WALL COPINGS

Description

Decorative EPS coping for garden, boundary or landscape wall applications.

Provide Appropriate

- Falls.

- Projections.

- Drips.

- End details.

- Joint arrangement.

Underlying wall construction shall be suitably protected against water penetration.

24. QUOIN STONES

Description

Decorative corner profiles designed to coordinate with façade coursing and approved architectural elevations.

Set out accurately at corners. Where quoins are coordinated with facing brickwork, brick coursing and wall construction shall be set out by the responsible masonry contractor to suit the approved Taylormade profile dimensions.

25. INTERFACES WITH OTHER TRADES

Coordinate Taylormade profiles with:

- Windows.

- Doors.

- Brickwork.

- Blockwork.

- Render.

- Roofing.

- Flashings.

- DPCs.

- Cavity trays.

- Sealants.

- Parapet waterproofing.

- Movement joints.

- Rainwater goods.

- Cladding systems.

Do not commence installation where adjoining work prevents correct installation or weathering of the Taylormade system.

26. SEALANTS

Sealant products used at interfaces shall:

- Be suitable for external façade use.

- Be compatible with adjoining substrates.

- Be compatible with the VPI coating/finish.

- Accommodate the anticipated movement.

- Be installed in accordance with the sealant manufacturer's requirements.

Where required, use appropriate backing material and joint geometry. Cosmetic false joints and structural movement joints shall be treated as separate applications.

27. SITE CUTTING AND MODIFICATION

Minimise site cutting. Where cutting is necessary:

- Use suitable clean cutting equipment.

- Maintain the specified profile geometry.

- Reinstate exposed EPS using the approved VPI/Taylormade coating system.

- Do not leave exposed EPS in the completed installation.

Major alterations to profile geometry require approval before installation.

28. STORAGE AND HANDLING

Store Profiles

- Dry.

- Off the ground.

- Protected from physical damage.

- Protected from prolonged exposure before installation.

- Away from solvents, fuels and other materials capable of attacking EPS.

Lift and Handle Profiles Carefully to Prevent

- Cracking of the coating.

- Chipping.

- Distortion.

- Damage to arrises.

- Damage to drip features.

Do not install materially damaged profiles.

29. WEATHER CONDITIONS

Apply adhesives, coatings, jointing materials and finishes within the temperature and weather limitations stated by VPI. Protect uncured work from:

- Rain.

- Frost.

- Excessive heat.

- Strong direct sunlight.

- Rapid drying.

- Adverse weather.

VPI's current product information gives application-temperature limits for relevant render products; always use the current technical data sheets at the time of installation.

30. QUALITY CONTROL

Before completion check:

- Line and level.

- Profile alignment.

- Joint alignment.

- Corners and returns.

- Drip formation.

- Window interfaces.

- Surface damage.

- Coating continuity.

- Movement-joint continuity.

- Finish colour and texture.

- General appearance.

Repair damaged areas only using materials and methods approved by Taylormade Facades and VPI.

31. RESPONSIBILITY FOR SUPPORTING CONSTRUCTION

Unless expressly included within Taylormade Facades' contracted scope, Taylormade Facades Ltd is not responsible for:

- Structural design of the supporting wall.

- Substrate movement.

- Masonry cracking.

- Structural movement.

- Incorrectly positioned movement joints.

- Defective substrates.

- Excessive substrate tolerances.

- Water penetration originating behind the Taylormade system.

- Defective windows or doors.

- Inadequate DPC/cavity-tray detailing.

- Waterproofing by others.

- Failure of materials supplied or installed by other trades.

Installation of Taylormade profiles does not constitute acceptance of concealed substrate defects.

32. SUBSTITUTIONS

The specified system is based on Taylormade Facades EPS architectural profiles with VPI coating/render materials. Do not substitute:

- EPS grade.

- Base coat.

- Adhesive.

- Reinforcement.

- Primer.

- Finish coat.

- Jointing material.

without prior technical review and written approval where the substitution could affect:

- Adhesion.

- Durability.

- Compatibility.

- Weather resistance.

- Reaction to fire.

- Appearance.

- Warranty.

- Technical assessment.

33. COMPLETION

At completion:

- Remove surplus material.

- Repair approved minor defects.

- Leave profiles clean and undamaged.

- Confirm movement joints remain free to function.

- Remove protective coverings when appropriate.

- Provide relevant maintenance information where required.

34. PROJECT-SPECIFIC SCHEDULE

Complete for each project:

Project: [Insert]

Architect: [Insert]

Main contractor: [Insert]

Taylormade profile reference: [Insert]

Drawing reference: [Insert]

EPS: Sundolitt SE200

VPI base coat/adhesive: [Confirm exact product]

Reinforcement: [Insert where required]

VPI finish: [Insert]

Colour: [Insert]

Required reaction-to-fire classification: [Insert]

Supporting evidence/reference: [Insert]

Substrate: [Insert]

Fixing method: [Insert]

Mechanical restraint: [Insert if applicable]

Joint treatment: [Insert]

Movement-joint arrangement: [Insert]

Sealant: [Insert if applicable]

Special weathering details: [Insert]

Approved drawing references: [Insert]

Important Specification Note

This specification provides general guidance for Taylormade Facades EPS architectural profiles and is not a substitute for project-specific technical design. Dimensions, substrates, fixing arrangements, coating build-ups, movement joints, fire-performance requirements and interfaces shall be confirmed for the individual project before manufacture.

Where a declared reaction-to-fire classification is required, the classification shall apply only where the complete proposed construction is covered by appropriate test, classification, assessment or certification evidence.

Taylormade Facades Ltd, Gasworks Road, Aberaman, Aberdare, CF44 6RS. 01685 875410. info@taylormadefacades.com.